MAHANAGAR TELEPHONE NIGAM LIMITED

(A Govt. of India Enterprise)

Office of General Manager (West),Telephone exchange, Rajouri Garden

New Delhi-110027

Tender No. No: GM(West)/AGM (A)/NIT/SMPS Repair/2021-22

Online open tender

of Rate contract for the repairing  of SMPS/Conventional type Power Plants in Exchanges/RSUs under GM(West) Area.

Document cost Rs.500+ Rs.90(GST)=Rs.590/-

Issued by:

O/o Senior Manager(Admin)West,MTNL

Admin Block,Telephone Exchange,

Rajouri Garden ,New Delhi-110027

Email : agmprmp@bol.net.in,  Mob-9868138180

MAHANAGAR TELEPHONE NIGAM LIMITED

O/o GM(West), Administrative Block, Rajouri Garden New Delhi-110027

From: -                                                      		To:-

AGM (A) West                                      		      	________________

O/o General Manager (West)               	          	________________

Room No.408, 4th Floor               		             	________________

Rajouri Garden New Delhi-110027                          	________________

No: GM (West)/AGM (A)/NIT/SMPS repair/2021-22

Name of The Tender: - Online open tender of Rate contract for the repairing of SMPS/Conventional type Power Plants in Exchanges/RSUs under GM(West) area.

Please find enclosed herewith the tender document as per details below: -

# 1.	Section  I	: N.I.T.						Page no.      3

2.	Section II	:  Instructions to the bidders			Page no.      4-9

3.	Section III	: General Conditions				Page no.	10-13

3.	Section IV	: Special Terms & Conditions			Page No.       14-16

4.	Section V	: Information of SMPS & C/T Power Plant	Page No.       17-18

# 5.       Section VI 	: Bid form and Price Schedule			Page No.      19-20

6.	Section VII	: Relationship Certificate Proforma		Page No.      21

7.	Section VIII	: Debar/ Blacklist Certificate Proforma 		Page No.      22

8.	Section IX	: Questionnaire					Page No.      23

9. 	Section-X	: Proforma Proprietor ship certificate 		Page No.	24

10.	Section-XI	: Agency Detail					Page No.	25

11.	Section-XII	: Proforma Bank Guarantee			Page No.	26-27

12.	Section-XIII	: Proforma declaration of bidder in lieu 	Page No.	28

of EMD.

# You are requested to submit your bid as per attached tender document.

As the tender is online on website https//www. eprocure.gov.in

Tender document will also be available on MTNL web site and can be only down loaded from MTNL web site (http://mtnl.net.in)

Asstt. General Manager (A) West

Encls: Tender document containing    28 pages

MAHANAGAR TELEPHONE NIGAM LIMITED

O/o GM(West), Administrative Block, Rajouri Garden New Delhi-110027

No: GM(West)/AGM (A)/NIT/SMPS repair/2021-22

Section I: N.I.T for Online open tender of Rate contract for the repairing of SMPS/ Conventional type Power Plants in Exchanges/RSUs under GM(West) area.

1   Document Download Start Date & Time	      	      05-Nov-2021 at 1200 Hrs

2.  Document Download End Date & Time	      	       04-Dec-2021 up to 1700 Hrs

3.  Date & time of submission of online bid		      05-Nov-2021 at 1300  Hrs

4   Date & time of closing of online bid	    	                05-Dec-2021 up to 1700 hrs

5.  Date & time of Opening of Bid 		 	      06-Dec-2021  at 1200 hrs

TYPE OF TENDER  -------TWO BIDS

Online tender are invited by the undersigned on behalf of GM (West), MTNL, Delhi from reputed contractors for undertaking following work during the contract period.

| S.No | Name of the work | Estimated Cost | EMD |
| --- | --- | --- | --- |
| 1 | Online open tender of Rate contract for the repairing of SMPS/Conventional type Power Plants in Exchanges/RSUs under GM(West) area. | Rs. 9,00,000/- | Nil- |

Tenders shall be submitted through e-tendering system on website https//www.eprocure.gov.in .The offer of interested bidders should be  complete in all respect as per enclosed documents and must be submitted latest by 1700 Hrs. on 05-11-2021, along with proof of transaction of document fee. The document fees of Rs.590 can be paid online at the following bank account: Indian Overseas account, Account no : 006502000007832, IFSC :  IOBA0000065,Branch : Janpath ,GST : 07AAACM0828R1Z5.

The “Instructions to Bidder” and “General (Commercial) conditions” are applicable for this Tender. However, the clauses mentioned in the “Special Conditions of Contract” & Technical Specifications will supersede the General (Commercial) Conditions.

Interested bidders having work experience of doing the similar type of work for one year during last three financial years in MTNL/BSNL/DOT or PSU etc are requested to participate in the tender process by bidding as per the tender document. Relaxations to MSME/NSIC bidders is applicable as per Govt of India guidelines subject to submission of relevant valid MSME/NSIC documents and certificates.

Tender bids shall be opened online at 12-00 hrs. on 06-12-2021. The representatives of the bidders may attend the bid opening at MTNL premises along with letter of authorization for attending bid opening at following address.

Any clarification may be sought within 7 days from the date of publication of the tender. MTNL also reserves the right to cancel the tender document without giving any reason.

AGM (A)West

O/O GM (West)

Room No.408, 4th Floor,

Admin Block, Rajouri Garden, New Delhi-110027

Encl;- Bid Documents

MAHANAGAR TELEPHONE NIGAM LIMITED

### SECTION II: INSTRUCTIONS TO THE BIDDERS

General Manger (West) having office at Administrative Block, Telephone Exchange, Rajouri Garden, New Delhi -110027 is an operating/administrative unit of MTNL, which is Government of India Enterprises. The company has registered office at Door Sanchar Sadan 9 C.G.O Complex Lodhi Road New Delhi-110003.

1.	Eligibility: The bidder should have experience of successfully carrying out of repair or AMC for minimum 1 Year in MTNL/BSNL/DOT/PSU or Govt. department of similar type of work. The bidder should have completed the work of repair of power plant to the extent of 50% of tender value.

2.     Supporting documents must be enclosed with the bid i.e. copy of work award letter from MTNL/BSNL/DOT/PSU or any other Govt. department mentioning details of periods & satisfactory work completion certificate. The experience certificate should be issued by an officer not below the rank of Deputy General Manager in Govt. Department and equivalent in case of PSU, and in case of institutions center head/incharge.

3.   	DOCUMENT TO BE SUBMITTED ALONGWITH BID AND OTHER CONDITIONS:

Following instructions are to be followed while submitting the bids and in case of failure to comply with any of the instructions by the bidders the bids will be liable to be considered as invalid.

(a)  	Declaration from bidder in lieu of submission of bid security deposit/EMD as per Proforma.

(b) 	Certificate of work experience of doing the similar work for one year during last three Financial years in MTNL/BSNL/DOT/PSU any other govt department  etc.

(c)  	Declaration regarding relationship certificate as per Proforma.

( Affidavit on Stamp Paper of Rs.100/- regarding I/we or any of my/our partner(s) relatives are neither employed in any capacity in MTNL nor any close relative working in MTNL. The term “Relative” means

i) Members of a Hindu undivided family.

ii) They are husband and wife.

iii) The one is related to the other in the manner as Father, Mother, Sons & Sons wife(daughter in law), Daughter(s) & daughter’s husband(son in law), Brothers & brother’s wife Sister and sisters husband(brother in law)).

(d)	Affidavit on Stamp Paper of Rs. 100/- declaring that the firm has never been blacklisted

(e)     GSTIN certificate.

(f)   	Bankdraft/Payorder of Rs. 590/- in the favor of AO (Cash) West, MTNL Rajouri Garden as tender documents fee. To be submitted with AGM (A) O/o GM (West), MTNL, Rajouri Garden New Delhi-110027.

(g)	Specimen signature and authorization to the person empowered by the firm to sign the bid.

(h)     Turn Over proof duly certified by Chartered Accountant.

(i)	ESI & PF registration certificate

(j)	PAN no. Copy

(k) 	Attested  copy  of  Partnership  Deed / Article  of Association / Memorandum  of  Association  and  Certificate  of  Incorporation  in  case  of  non  proprietary  firm.

(l)	Clause-by-Clause compliance.

4.	The bidder should sign on each page of the tender document & return the same in full.

5.      –Deleted-

6.  	The Technical Bids shall be opened online first on schedule date and time.

7.   	Financial bids shall be opened online after evaluation of the Technical bids.

8	Financial bids of only those bidders who qualify technically (i.e. successfully establishing bidder’s eligibility as per Clause 2 & 3 above) shall be opened.

9.	CLARIFICATION OF BID DOCUMENTS

9.1	A prospective bidder, requiring any clarification on the Bid Documents shall notify the Purchaser off line.  The Purchaser shall respond in writing to any request for the clarification of the Bid Documents, which it receives not later than 10 days prior to the date of opening of the tender. Copies of the query (without identifying the source) and clarifications by the Purchaser shall be posted off line.

9.2	Any clarification issued by MTNL in response to query raised by prospective bidders shall form an integral part of bid documents and it shall amount to an amendment of relevant clauses of the bid documents.

9.3  The bidders are required to keep a watch on the Website https//www. eprocure.gov.in or www.mtnl.net.in w. r. t. any amendment to the tender document or clarification to the queries raised by the bidders till a day prior to the submission of the tender.  MTNL reserves the right for rejection of bids if the bids are submitted without taking into account these amendments/clarifications. Further bidder will be fully responsible for downloading of the tender document and amendments for their completeness.

10.     AMENDMENT OF BID DOCUMENTS

10.1	At any time, prior to the date of submission of Bids, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify bid documents by amendments.

10.2	The amendments shall be displayed on MTNL’s website and these amendments will be binding on all bidders.

10.3	In order to afford prospective bidders a reasonable time to take the amendment into account in preparing their bids, the purchaser may, at its discretion, extend the deadline for the submission of bids suitably.

11(a)	MTNL will have the right to increase or decrease upto 25% of the value of goods and services  specified in the schedule or requirements without change in the unit price or other terms and conditions at the time of award of contract.

(b)	The purchasers reserve the right to place repeat order or extend the order up to 100 % of the value of the goods and services contained in the running tender/contract upto  a period of twelve months from the date of agreement at the same rate or a rate negotiated (downwardly) with the existing vendor/Vendors considering the reasonability of rates based on prevailing market conditions or the contract can be extended for period upto the finalization of new tender with the consideration of the and impact or reduction in duties and taxes etc. (With the approval of competent authority)

12.	i) Tender document Fees and EMD(if applicable) in the form of Demand draft/ Pay order in favour of AO(Cash) West, MTNL Rajouri Garden must be submitted to AGM (A), O/O GM (West), Room No.408, 4th Floor, Admin Block Rajouri Garden New Delhi-110027  on or before the date of closing online bid.

ii) In case Govt. holidays is declared for the day of opening the tender, the  tender will be opened on next working day at the same time and same venue.

13. 	DEADLINE FOR SUBMISSION OF BIDS

13.1	Bids must be received by the Purchaser not later than the date of submission of bid.

13.2	The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the Bid Documents in accordance with clause 10 above, in which case all rights and obligations of the purchaser and bidders previously would stand extended.

13.3	The bidder shall submit his bid offer against a set of bid documents downloaded by him for all or some of the systems subject to the deadline will thereafter be subjected to the deadline /equipment as per requirement of the Bid Documents.  He may include alternate offer, if permissible as per the bid.  However not more than one independent and complete offer shall be permitted from the bidder.

14.	LATE BIDS

This office system will not accept any bid after the scheduled date and time of submission of the bids.

15.	MODIFICATIONS AND WITHDRAWAL OF BIDS

  - The bidder may modify or withdraw his bid after submission prior to the deadline prescribed for submission of bids.

  - No bid shall be modified subsequent to the deadline for submission of bids.

16.	OPENING OF BIDS BY PURCHASER

16.1 	The purchaser shall open bids as per date & time mentioned in online NIT.

16.2	If the date fixed for opening of bids, is subsequently declared as holiday by MTNL, a revised date of opening will be notified.  However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

17.      CLARIFICATION OF BIDS

To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion to ask the bidder for the clarification of its bid. The request for the clarification and the response shall be offline.  However, no post bid clarification at the initiative of the bidder shall be entertained.

18.	The tender document Fees and EMD amount(Exempted till 31-12-2021) can be

paid in following way:-

DD/ Banker’s Cheque should be drawn in favour of AO (Cash) west, MTNL Rajouri Garden and must be in separate envelop alongwith main tender document envelop.

19. 	A bid received without EMD unless exempted shall be rejected summarily.

20. 	The contract period shall be valid for the period of one (1) year.

21 	If the services/store items delivered are not satisfactory or upto the mark, MTNL reserves the right to cancel the contract at any time after giving one (1) months notice.

22	SUMMARY REJECTION OF BIDS

i    	Any bid, unless exempted specifically not accompanied by required Earnest Money.

ii   	Any bid received  without  Relationship  &  Debar Declaration.

iii  	Any bid received late without conclusive proof that it was delivered before the specified  closing   time.

iv    	Any  bid  in which  rates  have  not been  quoted  in  accordance with  specified formats / details.

v   	Any  bid  without  experience  certificate .

vi   	Any bid received without Turn  Over  Proof  duly  certified  by  Chartered  Accountant.

vii  	Any attempt by a bidder to influence  in the bids evaluation, bid comparison or  contract award decision may also result in rejection of the bid.

viii    	Any information submitted found to be incorrect.

ix     	Any  bid  without  GSTIN registration Number certificate.

x	Any bid without ESI & PF registration certificate.

xi     	Any  conditional  bid.

23.	Security Deposit: The successful Bidder shall be required to deposit 3 % of the ordered value of the work award as security deposit.

24.    	The successful Bidder(s) shall be required to deposit the Security Deposit within 10  days of acceptance of their tender.

25. 	GM (West) MTNL, Delhi reserves the right to cancel any or all the tenders without assigning any reason.

26.	In case of dispute the decision of the arbitrator appointed by the GM (West), MTNL, New Delhi-27 will be final and binding on both the Parties.

27.	 In case where the document of EMD if applicable, is not submitted in the manner prescribed under clause 3 above, the techo-commercial and financial offers SHALL NOT BE OPENDED AND THE BID SHALL BE REJECTED UNOPENED.

28.     FORMATS AND SIGNING OF BID

The bid shall be typed or printed numbered sequentially and digitally signed by the bidder or a person or persons duly authorized to bind the bidder to the contract.  An index of various documents and page no. where it is available shall be given.  The letter of authorization shall be indicated by written power of attorney.  The copy of power of attorney shall be enclosed along with the bid.

29.     MTNL shall deduct TDS, Cess charges, etc from the contractor’s bills as

applicable from time to time.

30.	Document about experience of tender in the line of work & capacity to execute the contract successfully be attached.

31.	If any tender is withdrawn before final acceptance of tender, the earnest money& security deposit of the tender withdrawn is liable to be forfeited.

32.	In case of receipt of more than one tender from same person in different name,      then all tender bids other than lowest technical bids will be rejected summarily.

33. 	The security deposit as may be fixed, must be paid within 15 days of placement of LOI, failing which the amount deposited as earnest money will be forfeited.

34. 	If the information furnished by the Bidder is found to be incorrect, the contract, if awarded is liable to be terminated without notice and Earnest Money and/or SD is liable to be forfeited.

35.  	GM(West), M.T.N.L., Delhi does not bind himself to accept the lowest tender and  reserves to himself the right to  reject any or all the tenders. He may at his discretion terminate the tender at any time during the validity period without assigning any reason.

36.  	The M. T. N. L. will not pay any interest on the earnest money deposit or the security deposit.

37.	M.T.N.L. also reserves the right to forfeit Earnest Money/ Security deposit, if the Bidder, after accepting the contract, fails to comply with any of the terms and conditions set out here or in the contract agreement, which may be drawn up as consequence of acceptance of tender. In such circumstances the right to cancel the   tender/contract rests with the M.T.N.L.

38.	Bid shall remain valid for 150 days from the day of opening of bids. A bid valid for a shorter period shall be rejected being non-responsive.

39.	Acceptance of the tender will be communicated through an acceptance letter.

40.	Any bribe, commission, gift for advance given, promised given, promised or offered by or on behalf of the Bidder or his/her partner, agent or servant or any of his representative or relative to any official/ officer of M.T.N.L. with a motive to influence acceptance of tender or award of work or for acceptance of substandard executive work will render the tender/contract to be cancelled.

41.	Price to Be Quoted: Rates for repair of power plant are to be quoted in the Annexure of Financial Bid.

42.    	L-1 will be decided on over all cost based upon the bids received from the bidders for the repair charges of power plant. However applicable taxes will be shown separately.

43.	It is at the discretion of MTNL either to award whole work or partly work to one or more bidders.

Signature of the Bidder with Rubber Stamp

Tel. No. ___________________________

Mobile No. _________________________

Fax No. ____________________________

Email address. _______________________

SECTION-III

GENERAL CONDITIONS

1.	Submission of bid against this offer shall bind the bidder to the acceptance of all the conditions specified herein or in NIT unless otherwise agreed by MTNL.

1.1	Debarring from participating in future tenders of MTNL:

In cases where the requirement of depositing earnest money has been exempted/waived of and instead a declaration has been submitted, the failure of the bidder to act on offer of MTNL by specified date or the withdrawal of the offer by the bidder after opening of the bid and before expiry of the validity period shall result in debarring the bidder from participating in future tenders of any item/product of MTNL for such period as MTNL may decided or in terms of the declaration submitted by the bidder in this regard.

2.	PERFORMANCE SECURITY

2.1	The successful bidder will be required to deposit an amount equal to 3% of the actual contract value within two weeks of the issue of letter of intent as Performance Security or shall submit a Performance Bank Guarantee (PBG) of the said amount issued by a scheduled bank.

2.2	The performance guarantee on stamp paper of Rs. 100/- shall and/or the requisite value of stamp paper as per law be submitted  in the form of  Bank Guarantee issued by a scheduled bank and in the proforma provided.

2.3	The performance guarantee shall remain with MTNL and will be discharged after Completion of the contractual performance obligations including any warranty obligations under the contract.

2.4	If the successful bidder/bidders fails or neglects any of his obligations under the contract, MTNL, New Delhi shall forfeit either whole or any part of performance Guarantee furnished by the bidder as aforesaid as compensation for any loss resulting from such failure as specifically provided or otherwise that may be determined.

3         FORCE MAJEURE CLAUSE

If at any time, during the continuance of this contract performance in whole or in any part by either party or any obligation under this contract shall be prevented or delayed by reason of any event of hostility acts of public, enemy, civil commotion, sabotage, tides, floods, explosion, epidemics, guarantee restricts, strikes, lockouts or act of God (herein after referred to as events) provided notices of happening of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof. Neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any claim for damages against the other in respect of such performances. The contract may be resumed as soon as practicable after such event has come to an end or ceased to exist and decision of Executive Director, MTNL, New Delhi shall be final. If the performance in whole or part or any obligation under the contract is prevented  and delayed by reason of any such event for a period exceeding 60 days either party may at his option terminate the contract.

4.  	DISPUTE RESOLUTION,ARBITRATION, APPLICABLE LAW AND JURISDICTION.

4.1	The parties shall Endeavour to resolve any dispute under the Agreement through mutual discussions and negotiations. However, if, after thirty (30) days from the commencement of such negotiations, the efforts to resolve all or any of the disputes through negotiations fails  in that events, such disputes or differences, whatsoever arising between the parties in respect of this agreements /contract shall be referred to Arbitration, unless the matter is time barred as per the limitation Act, in accordance with the following provisions.

4.2 	For this purpose the Purchaser/MTNL shall publish a Panel of Arbitrator , meeting  the requirements of the Arbitration and conciliation Act as amended from time to time, consisting of eminent persons having wide experience in Telecom , Telecom Finance, Civil and Electrical fields. This panel will be of serving or retired officers of Government Departments or of public Sector Undertakings of the rank of Joint Secretary to Govt. of India or above.

4.3	Matters to be arbitrated upon shall be referred to the sole Arbitrator where the total value of claims does not exceed Rs.20 crores. Beyond the claim limit of Rs. 20 crores, there shall be a Panel of three Arbitrators.

4.4	For  the disputes to be decided  by the sole Arbitrator, the party invoking  the Arbitration Clause shall submit a list of three Arbitrators from the aforesaid Panel along with the letter invoking  the Arbitration. The other Party shall convey its consent for the one name as an Arbitrator out of three names within 15 days of receipt of such request.

4.5	For the disputes to be decided by a Panel of three Arbitrators, the party invoking the arbitration Clause shall submit one name from the aforesaid Panel, as its Nominee, along with the letter invoking the Arbitration. The other Party shall also convey the name of its nominee from the aforesaid Panel to the Party invoking the Arbitration, within 15 days of receipt of such request. Both the nominated Arbitrators shall nominate a third Arbitrator from the aforesaid Panel, who shall act as the presiding Arbitrator.

Thereafter, the appointment order of the sole arbitrator/ panel of three Arbitrators will be issued by ED Delhi/Mumbai/CMD,MTNL or any other officer on his behalf. In case, the office of ED Delhi/Mumbai/CMD, MTNL becomes non-existing due to restructuring or any other reason whatsoever, the officer who shall look after the works of ED Delhi/Mumbai/CMD shall issue the appointment order.

4.6	Payment terms for Arbitration fees and transport allowance will be as per the MTNL guidelines, Other arbitration proceedings shall be in accordance with the Arbitration and conciliation Act 1996, as amended from time to time, and the rules made there under shall be applicable. The Arbitration proceeding shall be held in Delhi/Mumbai.

4.7	In the event of such an Arbitrator, to whom the matter is originally referred, being vacating his office or neglecting his work or being unable to act for any reason whatsoever, the new Arbitrator(s) shall be appointed after following the procedure as enumerated hereinabove. The person(s) so appointed  shall be entitled to proceed from the stage at which it was left out by his predecessors.

4.8	No person other than the empanelled Arbitrators of MTNL shall be appointed as an Arbitrator to adjudicate the dispute.

4.9	The Arbitration proceedings shall be in English language.

4.10	The law of land as promulgated/modified/amended or replaced from time to time shall govern this agreement. The agreement shall be subject to exclusive jurisdiction of courts at Delhi/Mumbai.

5. TERMINATION  OF CONTRACT

5.1 	MTNL may terminate the contract by giving 15 days notice to the contractor in whole or in parts without prejudice to any other remedy for breach of contract, by written notice of default sent to the contractor..

(a)	If the contractor fails to execute any or all of the jobs assignment within the time period(s) specified in the contract or any extension thereof granted by the MTNL.

(b)	If the contractor fails to perform any other obligation(s) under the contract, within the stipulated period, the time being the essence of the contract.

5.2  	In the event of termination of the contract in whole or in part, the MTNL may execute/get/executed the said contract upon such terms and in such manner as it deems appropriate. The contractor shall be liable to the MTNL for any excess cost for such similar contracts. However, the contractor shall continue performing of the contract to the extent not terminated.

5.3	MTNL may without prejudice on the happening of any of the above mentioned circumstances to its other right under law or under the contract get the remaining work done at the risk and cost of the contractor and look to him for the excess payments made thereof and can also claim a set off for any dues payable under this contract or any other contract under set off clause. MTNL may also by giving written notice and without compensation to the contractor terminate the contract if the contractor becomes unwilling, bankrupt or otherwise insolvent without affecting its right of action or remedy as purchaser.

6. SET OFF

6.1	Whenever under this contract any amount is recoverable from or payable by the contractor, General Manager (West), New Delhi-110027 shall be entitled to recover such sum by appropriating in part or whole from the security deposit/PBG  made by the bidder for his contract or for any other contract in the event of this security not being taken then the balance of the total sum recoverable shall be deducted from any sum then due or which any time there after may become due to the bidder under this order or any other contract with MTNL.

6.2	The contractor cannot assign/transfer and sub-contract his interests/obligations under this contract without the prior written permission of the MTNL and such permission shall not relieve the supplier/contractor from any liability arising or obligation under contract.

7. DELAY IN PERFORMANCE AND LIQUIDATED DAMAGES

7.1	Delay in performance of the work obligation shall render the contractor liable to any or all of the following sanction forfeiture of performance security, imposition of L.D. and or termination of the contract for default.

7.2	In case of any likely-hood of delay in timely performance of service the contractor shall notify MTNL and MTNL may evaluate the situation and may in its discretion extend the period of performance of the contract without giving any benefit of increase due to change in duties/taxes but taking the advantage in case of reduction to its account.

7.3	In case the contractor is unable to execute the work awarded within the stipulated period, MTNL may, without prejudice to its rights under the contract or any other action, due to the default also reserves the right to order such job/work at an price as deemed fit in its discretion with another firm and the contractor will be liable to pay the extra cost for arising out of such an order. However, MTNL will not be liable to pay the benefit of any difference in cost to the contractor with a further clear stipulation that in no eventuality the contractor be absolved of the liquidated damages as specifically provided in the contract and /or detailed in the Annexure Hereto.

Asstt. General Manager (A) West

SECTION-IV

(SPECIAL TERMS AND CONDITIONS OF CONTRACT )

Specification as well as terms and conditions of the work for repair of all make -SMPS Power Plant (including modules), Conventional type Power Plants.

1. SCOPE :

1.1. The work of repair of faulty Modules of all makes, SMPS Power Plant, SMPS Power Plant Unit (including control cards and protective devices), Conventional type Power Plant, must be taken up at site.

1.2. The contract shall cover all Modules of SMPS Power Plant of all make and configuration and conventional type power plant.

1.3. The bidder should quote the repair charges inclusive of transportation, handling etc. It should be inclusive of all taxes excluding GST. All such rates are to be quoted in ANNEXURE - I. For repair of conventional power plant/ SMPS module including base rack and control panel the rates will be inclusive of all spare parts and consumables, freight ,handling charges including all taxes., All such rates are to be quoted in Proforma for Financial Bid as given in Section VI.

2. The concerned SDE shall intimate to the contractor about the fault of Power Plant by Telephone/Fax/Email/By post. The unit officer will maintain the record such as date and time of complaint/SMPS cards hand over to vendor for repair and the contractor will also maintain a record for all such details received and will maintain a case serial number, which will be given to complainant. Work order shall be given subsequently.

3. Since the proper functioning of P/P is essential for running of the exchanges, the total failure will affect the telecom services in that exchange. Therefore the contractor shall envisage that total failure for these Power Plants at any time is not desired. The contractor must take adequate steps/alternate arrangement etc. to ensure that there is no total failure of telecom services during the currency of rate contract.

3.1 Once the Power Plant is repaired for minimal operation, the contractor will ensure the repairing of faulty SMPS module of Power Plant or cards of Conventional Power Plant either on site or at his local repair Centre within 3 days from the date and time of booking of fault. If the contractor feels that the faulty module or any unit  is  required to  be  taken  to  the  workshop/repair centre  of contractor then the same will be transported at contractor’s own cost under proper receipt to SDE concerned and delivered back to SDE  within a period of 3 days from the date of fault booking.

3.2. Before accepting the faulty modules/faulty units of P/P, the contractor may check that the modules/faulty units of P/P are complete in all respects and all components (which need not be of same company) are available in each Module of P/P. Any report of missing components or damage in PCB of modules or cards of P/P after the receipt of cards for repair by contractor will not be entertained.

The contractor has to ensure that the modules handed over for repair are not refused/physically damaged or are not declared beyond repair.

The “units” are installed in all exchanges/RSU under GM (West) area.

The Contractor is required to attend the faulty module at site, where P/P is installed. The repair work after issue of work order must be completed preferably on the same day or maximum next day. In case the fault is such that it can not be rectified at site the SDE may permit to Contactor to take the unit at his work shop after obtaining acknowledgement. Whenever the faulty unit is repaired at workshop, the same has to be delivered back duly repaired to SDE within a period of total 3 days from the date of receipt of faulty modules/cards/units by contractor If units /modules / FR / BC are not repaired at work shop within 3 days , a penalty of Rs.500/-  per day will be imposed. No part payment will be made for repair work.

The work order will be issued by concerned unit officer and counter signed by concerned DE under who’s jurisdiction the power plant is maintained.

3.3 If there  are  02  or more Nos.  of  successful  bidders  then  the  work  could be  distributed  in  the  ratio  of  70:30 (L1 :L2)  at  the  rates  of  L-1.  In case of one successful bidder, 100% work will be awarded to L-1 Bidder.  The decision of MTNL regarding the distribution of work would be final and binding on all the bidders. If L-2 Bidder refuses to accept the work then the work would be given to L-1 for 100%.

4. Payment:

4.1 The payment shall be made on monthly basis on satisfactory completion of the work as per the terms & conditions of the contract certified from concerned I/C Unit Officer and duly counter signed by concerned DE in-charge.

4.2 Bill will be submitted along with (1) Attachment of log book indicating the reporting of fault (Time Date and its model) and also dated and time of its rectifications duly counter signed by concerned DE in-charge and (2) copy of work order.

4.3 MTNL shall deduct TDS at the prescribed rates of Income Tax department from contractors bills.

5. INSPECTION:

5.1 After carrying out repairs of the faulty P/P these will be handed over to SDE concerned who will accept the repaired P/P after inspection and testing.

5.2 The SDE concerned shall stamp or paste a slip at the bottom of Modules of SMPS P/P or faulty units of P/P which have been found to be repaired properly including the date of release of Modules of SMPS P/P or faulty units of P/P after repair. The warranty shall commence from this release date.

5.3 The contractor may request for extension of time for the repair of SMPS.The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time, if in his opinion, there are reasonable and sufficient grounds for granting such extension and the reasons for delay are not ascribable to the contractor and the Officer-in-charge is of the opinion that the grounds shown for extension of time are reasonable.

6. WARRANTY OF REPAIRS:

The contractor will ensure quality repair which will consequently reflect in normal trouble/defect free performance of the modules of SMPS P/P or faulty units of P/P for a period of SIX MONTHS from the date of attending the fault of SMPS/PP. In case the repaired modules of SMPS P/P or faulty units of P/P develop any defect or deficiency or fault, i.e. they become faulty during the warranty period, the contractor shall rectify, repair and remedy such defects, deficiency in the repaired modules of SMPS P/P or faulty units of P/P at his own cost and expense i.e. free of charge. Any delay in repairing of faulty unit during warranty period the unattended days will be added in the warranty period of six months.

7. PENALTIES :

7.1 Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and/or by adjustment from the security deposit. However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of bills on completion of work.

7.2  In case of complete breakdown of Power Plant If there is delay in attending the faults as mentioned below, penalty will be  imposed as under

- Delay beyond 3 days for repair in local workshop/out station work shop Rs.500/- per day per unit after 3 days.

- Delay beyond 4 hrs. for complete breakdown cases of Power Plant will be imposed at a rate of Rs.300 per hour per unit in addition to  7.2(i) above.

7.3 In case module(s) are damaged while repairing, the contractor shall be responsible to pay the original cost of the module(s) or make the damage good by replacement. If the contractor fails to make up the damages caused to MTNL, a penalty not exceeding the cost of the module(s) may be imposed and recovered from the contractor. Further repair efficiency required in this contract should be better than 98 % i.e. vendor can-not declared more than 2% module as irreparable during the contract.

7.4 In case the contractor fails to deliver the repaired modules/cards beyond 4 (four) weeks, then action may be taken for rescission/termination of contract, as per the discretionary powers of the competent authority.

8 RENEWAL/EXTENSION OF CONTRACT.

8.1 The contract awarded to the party can be extended by MTNL upto a period of six months or more with the approval of competent authority of MTNL as per the requirement of MTNL or as consequence of unforeseen circumstances, at the same prevailing rates and on the same terms and conditions.

Asstt. General Manager (A) West

Section –V

Information regarding SMPS & Conventional type Power Plant

Different make Power Plant in GM (West) area

| New | LOCATION | MAKE | EXCH | Rating (Amp) | Equipped Quantity |
| --- | --- | --- | --- | --- | --- |
| 1 | RAJOURI GDN TECH BLDG | ADOR | Main | 100 | 12 |
| 2 | DWARKA SEC-8 | ADOR | 5Ess-Main | 100 | 15 |
| 3 | KIRTI NAGAR | ADOR | OCB | 100 | 9 |
| 4 | VIKAS PURI | ADOR | RSU | 100 | 10 |
| 5 | DWARKA SEC-20 | ADOR | RSU | 100 | 7 |
| 6 | 13 BRD | ADOR | RSU | 100 | 4 |
| 7 | WAC | ADOR | RSU | 100 | 4 |
| 8 | MAYA PURI | ADOR | RSU | 100 | 8 |
| 9 | MADI PUR | ADOR | RSU | 100 | 6 |
| 10 | SPG EXCHGE. DWK | ADOR | RSU | 100 | 4 |
| 11 | DWARKA SEC-12 | ADOR | RSU | 100 | 8 |
| 12 | MUNDKA | ADOR | RSU | 100 | 5 |
| 13 | MULTAN NAGAR | ADOR | RSU | 100 | 6 |
| 14 | NGL-1 | ADOR | RSU | 100 | 10 |
| 15 | Dabri SEC-20 | Amaraja | Main | 100 | 8 |
| 16 | HARI NAGAR EWSD | Amaraja | Main | 100 | 13 |
| 17 | CHAUKHANDI | Amaraja | RSU | 100 | 7 |
| 18 | SANT NAGAR | Amaraja | RSU | 100 | 5 |
| 19 | WEST PUNJABI BAGH | Amaraja | RSU | 100 | 6 |
| 20 | NAJAFGARH-2 | Amaraja | RSU | 100 | 7 |
| 21 | IGIA | Amaraja | RSU | 100 | 3 |
| 22 | BIJWASAN | Amaraja | RSU | 100 | 4 |
| 23 | INDER PURI | Amaraja | RSU | 100 | 4 |
| 24 | NARAINA | Amaraja | RSU | 100 | 5 |
| 25 | PALAM | Delta | RSU | 100 | 4 |
| 26 | NSIT CNE Exchge. | Delta | CNE | 50 | 3 |
| 27 | KANJHAWALA | Ericssion | RSU | 100 | 6 |
| 28 | NANGLOI-2 | Ericssion | RSU | 100 | 6 |
| 29 | HASTSAL | Exicom | RSU | 100 | 6 |
| 30 | SHADI PUR | Exicom | RSU | 100 | 18 |
| 31 | DWARKA SEC-6 | Exicom | OCB-RSU | 100 | 17 |
| 32 | SOUTH PATEL NAGAR | Exicom | RSU | 100 | 7 |
| 33 | PASCHIM VIHAR | Exicom | MSU | 100 | 17 |
| 34 | HARINAGAR | Exicom | Main | 200 | 2 |
| 35 | Mayapuri | Exicom | RSU | 200 | 1 |
| 36 | JANAKPURI D-4 | Exicom | DSLAM,Router,Media Gateway | 200 | 14 |
| 37 | ROSHAN MANDI | HBL | RSU | 100 | 4 |
| 38 | JANAK PURI D-3 | HFCL | Main | 100 | 23 |
| 39 | PASCHIM VIHAR | HFCL | MSU | 200 | 13 |
| 40 | Uttam Nagar | ITI | RSU | 100 | 7 |
| 41 | JANAK PURI D-2 | ITI | Main | 100 | 22 |
| 42 | CHAWLA | ITI | RSU | 100 | 4 |
| 43 | NANAGAL RAYA | ITI | RSU | 100 | 7 |
| 44 | SAMALKHA | ITI | RSU | 100 | 4 |
| 45 | RAHOURU GDN D-7 | ITI | MAIN | 100 | 43 |
| 46 | VISHNU GARDEN | ITI | RSU | 100 | 7 |
| 47 | EAST PUNJABI BAGH | ITI | RSU | 100 | 7 |
| 48 | DABRI | ITI | MSU | 100 | 14 |
| 49 | DWARKA SEC-16C | ITI | RSU | 100 | 5 |
| 50 | DWARKA SEC-19 | ITI | RSU | 100 | 6 |
| 51 | HARINAGAR | ITI | MSU | 100 | 11 |
| 52 | ROHINI SEC-22 | ITI | RSU | 100 | 6 |
| 53 | NILOTHI | ITI | RSU | 100 | 8 |
| 54 | RAJOURI GDN Tech Bldg | Tata Lucent | BB | 200 | 12 |
| 55 | NAJAFGARH-1 | Tata Lucent | RSU | 200 | 4 |
| 56 | DELHI CANTT | Tata Lucent | RSU | 200 | 4 |
| 57 | OCB Samiridhi Sec-18 DWK | Tata Lucent | RSU | 200 | 2 |
|  | TOTAL | 484 |  |  |  |

Asstt. General Manager (A) West

## SECTION  VI: BID FORM & PRICE SCHEDULE	        	(FINANCIAL BID)

No: GM(West)/AGM (A)/NIT/SMPS repair/2021-22

From :

Name and address of the Bidder			To,

---------------------------------------			AGM (A) O/o GM (West) MTNL

--------------------------------------			Room No.408, 4th Floor

----------------------------------------			Admin Block ,Telephone Exchange,

Rajouri Garden

Tel. No: ---------------------------			New Delhi-110027

Fax No.---------------------------

Name of the work: NIT for the online open tender for rate contract for repair of SMPS/ Conventional type Power Plants in Exchnages/RSUs under GM(West) MTNL area.

Sir,

I have studied the tender documents and understood them.

I hereby agree to undertake the work for repair of power plants in GM (West) MTNL area in terms of the subject NIT.

1.	This bid is being offered with understanding that I/ We shall take the work of repair of power plant in GM (West) MTNL area exchanges.

2.	I hereby quote the following rates :

DETAILS  OF working  SMPS  MODULES  AT  PRESENT  IN  AREA

| S.No | Make | Capacity | Quantity | 25% of Working Capicity (For estimated value of Tender) | Rate per unit for all type of fault (Excluding GST) |
| --- | --- | --- | --- | --- | --- |
| 1 | AmarRaja | 100 | 62 | 15 |  |
| 2 | Delta | 100 | 4 | 1 |  |
| 3 | Delta | 50 | 3 | 1 |  |
| 4 | Ericssion | 100 | 12 | 3 |  |
| 5 | Exicom | 100 | 65 | 16 |  |
| 6 | Exicom | 200 | 17 | 4 |  |
| 6 | HBL | 100 | 4 | 1 |  |
| 7 | HFCL | 200 | 13 | 4 |  |
| 8 | HFCL | 100 | 23 | 6 |  |
| 9 | ITI | 100 | 151 | 38 |  |
| 10 | Tata Lucent | 200 | 22 | 6 |  |
| 11 | ADOR | 100 | 108 | 31 |  |
| Total | 484 | 126 |  |

The  contractor  will  have  to  repair  the  modules  of  other  makes  also ( if  required)

Note :- 	The  Quantity  of  faulty  modules  may   increase/ decrease  and  no  compensation  would be   given  to  the  contractor  for  the  reduced  quantum  of  work. The quantity/value of tender can   be increased up to 25% and more as per terms and conditions mentioned in the contract

Note:- Rates are inclusive of all components, maintenance wiring and labour etc.

1.	I/We undertake to abide by the rule and regulations of the Central / State Govt. Governing the Contractual obligations

2. 	I/ we Understand that if any of the information/ document furnished herewith is found to be false or incorrect, my /our tender bid liable to be cancelled and EMD Forfeited and in event of contract being awarded, the same is also liable to be cancelled and security deposit amount forfeited.

NAME OF THE BIDDER

WITH RUBBER STAMP & CAPACITY

#### SECTION VII:

#### RELATIONSHIP CERTIFICATE PROFORMA

### DECLARATION

(On a stamp paper of Rs. 100/- to be submitted by the Bidder duly attested by the notary public.)

I/WE/Mr./Ms/M/S------------------------------------------S/O---------------------------------------resident of -----------------------------------------------------------do hereby declare as under:

1.That I or any of my partners is/ are not employee of MTNL, BSNL or DOT.

2. My partner or I don’t have any close relative working in MTNL

3. The details of relative/s working in MTNL (if any) are as follows:

| S.Nooo | Name of officer | Designation | Related To | Relation. |
| --- | --- | --- | --- | --- |

Note: Close relative means:

a) Members of a Hindu undivided family.

b) They are husband and wife.

c) The one is related to the other in the manner as Father, Mother, Son(s) & Son’s wife(daughter in law), Daughter(s) & daughter’s husband(son in law), Brother(s) & brother’s wife Sister(s) and sister’s husband(brother in law).

NAME OF THE BIDDER

WITH RUBBER STAMP & CAPACITY

IN WHICH HE/SHE IS SIGNING

(OFFICE SEAL)

#### SECTION VIII:   Debar/Blacklist certificate Proforma

DECLARATION

(On Rs. 100/- Non-judicial stamp paper dully attested by Notary)

I/WE/Mr./Ms/Mrs _________________________ S/o/ Wife of Sh._______________ and

proprietor/ director /  partner of M/s_________________________do hereby solemnly

affirm and declare as under:

1.	That I/We are the sole proprietor/partner/director of M/s…………………………………….

2.	That I  state and declare that the above firm

M/s____________________________has never ever been debarred and/or blacklisted by

any department of Central Govt./state Govt./PSU/Public bodies/Municipalities.

In case the above declaration is found to be incorrect or wrong, the contract, if awarded to the firm may be terminated immediately and the firm shall be liable to be black listed/debarred for future works/contract with MTNL. Any such action shall however, be without prejudice to MTNL rights under the law.

Signature of the Proprietor/Partner/Director

Station:							  (Sh./Smt/Ms)

Note:	The signatory should not affect any variation in the text of declaration in any form.  It shall not be acceptable and render the tenderer for penal action as decided by MTNL.

SECTION IX: Questionnaire

From

Name and address of the Bidder				To

---------------------------------------				AGM (A)

--------------------------------------				O/O GM (West)MTNL

--------------------------------------				Room No.408, 4th Floor,

--------------------------------------				Admin Block,

Telephone Exchange

MTNL,Rajouri Garden

Tel. No: ---------------------------                      		New Delhi-110027 .

Fax No.---------------------------

Name of work:- Online open Tender for Rate contract for the repairing  of SMPS/ Conventional type Power Plants in Exchanges/RSU under GM (West) area.

Please furnish the following information

A	Name of the firm:

B	Type of the firm:

C	Name of the proprietor/ partners/ Directors.

D 	Query :

Signature of the Bidder

With rubber stamp

SECTION-X: Proforma Proprietorship Certificate Proprietorship Certificate

DECLARATION

(On Rs. 100/- Non-judicial stamp paper duly attested by Notary)

I,_______________________S/o/Wife of Sh._______________________________and proprietor

- That I am the sole owner/proprietor of a business  operating under the name and  style  of “M/s.___________________________________” operating   from _____________________________________  (Address of the premises).

- That the above proprietorship firm is not undertaken/operated by a partnership firm or limited liability company.

- That the below mentioned person is my legal nominee for the said proprietor ship concern:

Name :_________________________________________________________________

Relationship with the proprietor:_____________________________________________

- That the contents of the above declaration are true and correct to the best of my knowledge and belief.

In case the above declaration is found to be incorrect or wrong, the contract, if awarded to the firm may be terminated immediately and the firm shall be liable to be black listed/debarred for future works/contract with MTNL. Any such action shall however, be without prejudice to MTNL rights under the law.

Signature of the Proprietor

Place:

(Sh./Smt/Ms)

Note:	The signatory should not affect any variation in the text of declaration in any other form.  It shall not be acceptable and render the tenderer for penal action as decided by MTNL.

SECTION-XI :AGENCY DETAILS

1. NAME OF AGENCY	----------------------------------------------------------------------------

2. OWNERS NAME		-----------------------------------------------------------------------------

3. GST REGISTRATION NO:  --------------------------------------------------------------

4. TELEPHONE NO.		------------------------------------------------------------------------------

5. (a) RESIDENTIAL ADDRESS ----------------------------------------------------------------------

(b) OFFICE ADDRESS  	------------------------------------------------------------------------------

6. BANKER’S NAME & ADDRESS ----------------------------------------------------------------------------

-------------------------------------------------------------------------------------

7. EXPERIENCE (As per Eligibility criteria)---------------------------------------------------------------

8. LIST OF MAJOR CLIENTS

(Enclose copy of order/contracts------------------------------------------------------------------------

Along with item details)             --------------------------------------------------------------

9..PERFORMANCE REPORT      --------------------------------------------------------------------

As per Eligibility criteria

10. ANY OTHER INFORMATION/

DOCUMENTS WHICH MAY

HELP MTNL IN ASSESSING _--------------------------------------------------------------

YOUR CAPABILITIES FOR

AWARDING OF CONTRACT.  -----------------------------------------------------------

NAME OF THE BIDDER

WITH RUBBER STAMP & CAPACITY

SECTION-XII: PROFORMA FOR PERFORMANCE BANK GUARANTEE

(To be stamped in accordance with Stamp Act)

B.G. : _________________

DATE OF ISSUE :_______

VALID UPTO : __________

Tender Enquiry No. : _ _____

Ref :___________________________

To,

AGM(A)

O/O GM (West) , MTNL

Room No.408, 4th Floor,

Administrative Block,

Telephone Exchange, Rajouri Garden,

New Delhi – 110027

Dear Sir,

In consideration of the (Purchaser’s Name and address)…..(Hereinafter referred to as the

‘Purchaser’ which expression shall unless repugnant to the context or meaning thereof, include its

successors, administrators and assigns) having awarded to M/s….(Bidder’s/Contractor’s

Name)……………….with its Registered/Head Office at……………….(Hereinafter referred to as

the ‘Contractor’ which expression shall unless repugnant to the context or meaning thereof, include

its successors, administrators, executors and assigns), a Contract by issue of Purchaser’s Purchase Order No…………………………………………..dated…………and the same having been

acknowledged by the contractor, for…………………………..(Contract sum in figures and words)

for………(Name of the work) and the Contractor having agreed to provide a Contract Performance

Guarantee for the faithful performance of the entire Contract equivalent to ……….% of the said

basic value of the aforesaid work under the Purchase Order.

We…………[Name & Address of the Bank]…………. having its Head Office at…………….

(hereinafter referred to as the ‘Bank’, which expression shall, unless repugnant to the context of

meaning thereof, include its successors, administrators, executors and assigns) do hereby guarantee and undertake to pay the Purchaser’s on demand any and all monies payable by the Contractor to the extent of……………… as aforesaid at any time up to…………..…. (@)………..days/month/ year without any demur, reservation, contest, recourse or protest and/or without any reference to the Contractor. Any such demand made by the Purchaser on the Bank shall be conclusive and binding notwithstanding any difference between the Purchaser and the Contractor or any dispute pending before any Court, Tribunal, Arbitrator or any other authority. The Bank undertakes not to revoke this guarantee during its currency without previous consent of the Purchaser and further agrees that the guarantees herein contained shall continue to be enforceable till the Purchaser discharges this guarantee or till………….days/month/year whichever is earlier.

The Purchaser shall have the fullest liberty, without affecting in any way the liability of the Bank

under this guarantee, from time to time to extend the time for performance of the Contract by the

Contractor. The Purchaser shall have the fullest liberty, without affecting this guarantee, to

postpone from time to time the exercise of any powers vested in them or of any right which they

might have against the Contractor, and to exercise the same at any time in any manner, and either

to enforce or to forbear to enforce any covenants, contained or implied, in the Contract between the Purchaser and the Contractor or any other course or remedy or security available to the Purchaser.

The Bank shall not be released of its obligation under these presents by any exercise by the

Purchaser of its liberty with reference to the matters aforesaid or any of them or by reason of any

other act or forbearance of other acts of omission or commission on part of the Purchaser or any

other indulgence shown by the Purchaser or by any other matter or thing whatsoever which under

law would, but for this provision have the effect of relieving the Bank.

The Bank also agrees that the Purchaser at its option shall be entitled to enforce this Guarantee

against the Bank as a principal debtor, in the first instance without proceeding against the

Contractor and notwithstanding any security or other guarantee the Purchaser may have in relation

to the Contractor’s liabilities.

i) Our liability under this Bank Guarantee shall not exceed Rs……………..

ii) This Bank Guarantee shall be valid up to and including……………………..

iii) We are liable to pay the guaranteed amount or any part thereof under this Bank

Guarantee only and only if Purchaser serves upon Bank a written claim or demand on or

before….............

Dated this…………………Day of………….2021………………at………………….

WITNESSES:

Signature…………….. 					Signature…………………

Name……………………. 					Name……………………..

Official Address……………… 				Official Address……..……….

Designation……………………

Bank’s Common Seal……….

Attorney as per Power of Attorney

Signature…………………………………

Name………………………………………

No…………………………..

Address…………………………………….

Section-XIII : Proforma for Declaration of bidder in lieu of submission of  Bid         Security  deposit /Earnest Money deposit.

No………….

Dated:………

DECLARATION

Subject : Declaration of bidder (Other than MSME) in  lieu  of submission of Bid Security  deposit  /  Earnest  Money deposit.

Sir,

We M/s……………….	are submitting this declaration in lieu of Bid Security deposit / Earnest Money deposit against MTNL Tender Enquiry No... ... ... .............dated……....

- We do hereby declare that we will not withdraw or modify our bids during the period of validity of bid specified in tender document and if we are awarded the contract we will sign the contract and submit a performance security of requisite amount before the deadline defined in the bid / Advance Purchase Order/LOI.

- We further declare that if we fail to comply as per our declaration at para 2 above, we M/s ………………………..will not be eligible to participate in the MTNL tender for any item / product for one year from the date of issue of APO/LOI. We will not approach the court against the decision of MTNL in this regard.

Signature of authorize signatory Name………………………

Address………………………..

Office Stamp………………..